## Slide 1: Introduction to image analysis
April 2018
Adam Tyson

## Slide 2
Course website
bit.ly/ICR-image
Slides
Sample images
Software

## Slide 3
Course website - download

## Slide 4
Aims
Introduction to fundamental image analysis principles
Using ImageJ/FIJI (but everything is general)
Convert biological question into computational problem

## Slide 5
Aims
Introduction to fundamental image analysis principles
Using ImageJ/FIJI (but everything is general)
Convert biological question into computational problem
Some parts may be obvious, bear with me.
The focus is on understanding image analysis, not pressing buttons.
Like anything, requires practice.
Disclaimer:

## Slide 6
Aims
Introduction to fundamental image analysis principles
Using ImageJ/FIJI (but everything is general)
Convert biological question into computational problem
Disclaimer:
Email me whenever – adam.tyson@icr.ac.uk
Some parts may be obvious, bear with me.
The focus is on understanding image analysis, not pressing buttons.
Like anything, requires practice.

## Slide 7
Questions

## Slide 8
Questions
Are you currently using microscopy or planning to?

## Slide 9
Questions
Are you currently using microscopy or planning to?
Which system(s)?
  Confocal/spinning disk
  Multiphoton
  High content (Celigo/Operetta/ImageXpress)
  TIRF
  Lightsheet
  Any others?

## Slide 10
Questions
Are you currently using microscopy or planning to?
Which system(s)?
  Confocal/spinning disk
  Multiphoton
  High content (Celigo/Operetta/ImageXpress)
  TIRF
  Lightsheet
  Any others?
Which analysis software?

## Slide 11
Questions
Are you currently using microscopy or planning to?
Which system(s)?
  Confocal/spinning disk
  Multiphoton
  High content (Celigo/Operetta/ImageXpress)
  TIRF
  Lightsheet
  Any others?
Which analysis software?
A bit / no / lots of experience?

## Slide 12
Questions
Are you currently using microscopy or planning to?
Which system(s)?
  Confocal/spinning disk
  Multiphoton
  High content (Celigo/Operetta/ImageXpress)
  TIRF
  Lightsheet
  Any others?
Which analysis software?
A bit / no / lots of experience?
Any specific aims?

## Slide 13
First (and most important lesson)
Test your analysis before you acquire data!
Sample
preparation
Data
Analysis
Biological information

## Slide 14
Software

## Slide 15
FIJI (FIJI is just ImageJ)
http://forum.imagej.net/
https://fiji.sc/

## Slide 16
FIJI (FIJI is just ImageJ)
http://forum.imagej.net/
https://fiji.sc/
ImageJ with lots preinstalled

## Slide 17
FIJI (FIJI is just ImageJ)
Free
Open source
Cross platform
Flexible
Huge community
http://forum.imagej.net/
https://fiji.sc/

## Slide 18
FIJI - installation
Download
Windows
  Open fiji-win64.zip in “windows explorer” & click “extract all files” to e.g. Desktop
Linux (e.g. Ubuntu)
  Open fiji-linux64.zip with “archive manager” & extract to e.g. Desktop
Mac (OSX)
  Open fiji-macosx.dmg, drag and drop Fiji.app to applications (or anywhere else).
  May need to go to “System Preferences > Security & Privacy” and allow unidentified developers.

## Slide 19
Why computational image analysis?

## Slide 20
Why computational image analysis?
Quantity of data (TB’s per day)

## Slide 21
Why computational image analysis?
Quantity of data (TB’s per day)
Reproducibility, comparison

## Slide 22
Why computational image analysis?
Visual system relies heavily on context and relative changes.
Checker shadow illusion, Edward Adelson 1995.

## Slide 23
Why computational image analysis?
Visual system relies heavily on context and relative changes.
Checker shadow illusion, Edward Adelson 1995.

## Slide 24
Why computational image analysis?
Visual system relies heavily on context and relative changes.
Checker shadow illusion, Edward Adelson 1995.
Jastrow illusion, Joseph Jastrow (and others), 1892.

## Slide 25
Nearly all microscopy images aren’t colour

## Slide 26
Nearly all microscopy images aren’t colour

## Slide 27
Nearly all microscopy images aren’t colour

## Slide 28
Lookup tables (LUTs)

## Slide 29
Images are arrays of numbers
78 | 64 | 71 | 57 | 43 | 44
86 | 93 | 69 | 60 | 48 | 46
75 | 64 | 57 | 59 | 55 | 62
70 | 65 | 69 | 85 | 56 | 54
54 | 68 | 88 | 63 | 46 | 43
51 | 51 | 74 | 66 | 43 | 35

## Slide 30
More complicated images are still arrays of numbers
2D
78 | 64 | 71 | 57 | 43 | 44
86 | 93 | 69 | 60 | 48 | 46
75 | 64 | 57 | 59 | 55 | 62
70 | 65 | 69 | 85 | 56 | 54
54 | 68 | 88 | 63 | 46 | 43
51 | 51 | 74 | 66 | 43 | 35

## Slide 31
More complicated images are still arrays of numbers
2D

## Slide 32
More complicated images are still arrays of numbers
2D
RGB

## Slide 33
More complicated images are still arrays of numbers
2D
3D
RGB
Notes: .

## Slide 34
More complicated images are still arrays of numbers
2D
3D
RGB
Time-lapse

## Slide 35
More complicated images are still arrays of numbers
2D
3D
RGB
Time-lapse
3D RGB

## Slide 36
More complicated images are still arrays of numbers
2D
3D
RGB
Time-lapse
3D RGB
3D time-lapse

## Slide 37
More complicated images are still arrays of numbers
2D
Time-lapse
3D
3D time-lapse
RGB
3D RGB
3D RGB time-lapse

## Slide 38
Image processing vs analysis

## Slide 39
Image processing vs analysis
Volume
Shape
Texture

## Slide 40
Histogram
Open any sample image

## Slide 41
Histogram
Open any sample image
Open histogram
N.B. – On OSX, tabs are in the menu bar

## Slide 42
Thresholding
Threshold (κ)

## Slide 43
Thresholding

## Slide 44
Thresholding

## Slide 45
Thresholding

## Slide 46
Thresholding – try it out
Open DAPI.tif (can drag and drop)

## Slide 47
Thresholding – try it out
Threshold
Open DAPI.tif (can drag and drop)

## Slide 48
Manual threshold - problems
DAPI.tif

## Slide 49
Manual threshold - problems
DAPI.tif
DAPI_2.tif

## Slide 50
Automatic thresholding – Equal masses
Ideal case

## Slide 51
Automatic thresholding – Equal masses
Real case
Ideal case

## Slide 52
Automatic thresholding – Otsu’s method
Minimise within class variance (σW)
Maximise between class variance (σB)
Otsu (1979) IEEE Transactions on Systems, Man and Cybernetics. Vol SMC-9, No 1, p62

## Slide 53
Automatic thresholding – Otsu’s method
Minimise within class variance (σW)
Maximise between class variance (σB)
Otsu (1979) IEEE Transactions on Systems, Man and Cybernetics. Vol SMC-9, No 1, p62

## Slide 54
Automatic thresholding – Otsu’s method
Minimise within class variance (σW)
Maximise between class variance (σB)
Otsu (1979) IEEE Transactions on Systems, Man and Cybernetics. Vol SMC-9, No 1, p62

## Slide 55
Unimodal thresholding – Rosin’s method
Rosin (2001) Pattern Recognition. Vol 34, No 11, p2083
Use shape of distribution to find threshold

## Slide 56
Unimodal thresholding – Rosin’s method
Rosin (2001) Pattern Recognition. Vol 34, No 11, p2083
Use shape of distribution to find threshold

## Slide 57
Try it out – Otsu’s method
Otsu (1979) IEEE Transactions on Systems, Man and Cybernetics. Vol SMC-9, No 1, p62

## Slide 58
Many, many other methods
Kapur et al. (1985) Graphical Models and Image Processing Vol 29, No 3, p273

## Slide 59
Not always that simple …
Open DAPI_3.tif
Pick a threshold
vs

## Slide 60
Background subtraction – e.g. vignetting
Sample

## Slide 61
Background subtraction – e.g. vignetting
Sample
Microscope

## Slide 62
Background subtraction – e.g. vignetting
Sample
Microscope
Image

## Slide 63
Background subtraction – e.g. vignetting

## Slide 64
Background subtraction – e.g. vignetting

## Slide 65
Background subtraction – e.g. vignetting

## Slide 66
Background subtraction – e.g. vignetting
How to calculate??

## Slide 67
Estimate background – Gaussian smoothing
Seems arbitrary, but smoothing is often a key step in image processing

## Slide 68
Estimate background – Gaussian smoothing
Seems arbitrary, but smoothing is often a key step in image processing

## Slide 69
Estimate background – Gaussian smoothing
Seems arbitrary, but smoothing is often a key step in image processing
Try a value of 200 pixels

## Slide 70
Estimate background – Gaussian smoothing
May need to adjust brightness

## Slide 71
Estimate background – Gaussian smoothing
May need to adjust brightness

## Slide 72
Estimate background
(Open a new DAPI_3.tif)

## Slide 73
Estimate background
(Open a new DAPI_3.tif)

## Slide 74
Now try thresholding

## Slide 75
Now try thresholding
Better, but not great

## Slide 76
Morphological operations
Processing of (usually binary) images based on shape

## Slide 77
Morphological operations
Try on the previous example
Thresholded

## Slide 78
Morphological operations
Try on the previous example
Eroded
Thresholded

## Slide 79
Morphological operations
Try on the previous example
Eroded
Thresholded
Dilated and closed

## Slide 80
Watershed – separate objects
From the previous example
Notes: Basic implementation in ImageJ – but often requires a lot of tweaking if you don’t have two perfectly circular objects.

## Slide 81
Watershed – separate objects
From the previous example

## Slide 82
Watershed – separate objects
From the previous example

## Slide 83
Watershed

## Slide 84
Watershed

## Slide 85
Watershed

## Slide 86
Watershed
Distance transform
Negative intensity profile

## Slide 87
Watershed
Distance transform
Negative intensity profile

## Slide 88
Watershed
Distance transform
Negative intensity profile

## Slide 89
Watershed
Distance transform
Negative intensity profile

## Slide 90
Watershed
Distance transform
Negative intensity profile

## Slide 91
Watershed
Distance transform
Negative intensity profile
Watershed

## Slide 92
Filters - Gaussian
Large kernel (200 pix)
Correct inhomogeneous illumination

## Slide 93
Filters - Gaussian
Smooth intensity variations for thresholding
Small kernel (8 pix)

## Slide 94
Filters - Gaussian
Open foci.tif & try thresholding (to segment whole nuclei)
Apply Gaussian smoothing (use preview) & try again

## Slide 95
Filters - Gaussian
Open foci.tif & try thresholding
Apply Gaussian smoothing (use preview) & try again
vs

## Slide 96
Filters - Gradient
Edge detection

## Slide 97
Filters - Gradient
Edge detection
Approximate derivative:
  The Sobel operator

## Slide 98
Filters - Gradient
Edge detection
Approximate derivative:
  The Sobel operator

## Slide 99
Filters - Gradient
Edge detection
Approximate derivative:
  The Sobel operator

## Slide 100
Filters - Gradient

## Slide 101
Filters - Gradient

## Slide 102
Filters - Gradient
Combine

## Slide 103
Filters - Gradient
Combine

## Slide 104
Boolean image mathematics

## Slide 105
Boolean image mathematics
AND

## Slide 106
Boolean image mathematics
AND
OR

## Slide 107
Boolean image mathematics
AND
OR
XOR

## Slide 108
Boolean image mathematics - masking

## Slide 109
Boolean image mathematics - masking
PV.tif
PV_DAPI.tif

## Slide 110
Boolean image mathematics - masking
PV.tif
PV_DAPI.tif
PV_seg.tif

## Slide 111
Boolean image mathematics - masking
PV.tif
PV_DAPI.tif
PV_seg.tif

## Slide 112
First (and most important lesson) – again!
Test your analysis before you acquire data!
Sample
preparation
Data
Analysis
Biological information

## Slide 113
Deconvolution
Sample

## Slide 114
Deconvolution
Sample
PSF

## Slide 115
Deconvolution
Sample
Blurred
PSF

## Slide 116
Deconvolution
Sample
Blurred
PSF
Noise

## Slide 117
Deconvolution
Sample
Blurred
Blurred & noisy
PSF
Noise

## Slide 118
Deconvolution
Sample
Blurred
Blurred & noisy
PSF
Noise
?

## Slide 119
Deconvolution – how?
Lucy (1974) The Astronomical Journal. Vol 79, No 6 p745
Richardson (1972) Journal of the Optical Society of America, Vol 62, No 1, p55
Constrained iterative deconvolution
e.g. Richardson-Lucy

## Slide 120
Deconvolution – how?
Lucy (1974) The Astronomical Journal. Vol 79, No 6 p745
Richardson (1972) Journal of the Optical Society of America, Vol 62, No 1, p55
Constrained iterative deconvolution
e.g. Richardson-Lucy
Raw Image
Image
Operation

## Slide 121
Deconvolution – how?
Lucy (1974) The Astronomical Journal. Vol 79, No 6 p745
Richardson (1972) Journal of the Optical Society of America, Vol 62, No 1, p55
Constrained iterative deconvolution
e.g. Richardson-Lucy
Raw Image
Estimate
Image
Operation

## Slide 122
Convolve with PSF
Deconvolution – how?
Lucy (1974) The Astronomical Journal. Vol 79, No 6 p745
Richardson (1972) Journal of the Optical Society of America, Vol 62, No 1, p55
Constrained iterative deconvolution
e.g. Richardson-Lucy
Raw Image
Estimate
PSF
Image
Operation

## Slide 123
Convolve with PSF
Deconvolution – how?
Lucy (1974) The Astronomical Journal. Vol 79, No 6 p745
Richardson (1972) Journal of the Optical Society of America, Vol 62, No 1, p55
Constrained iterative deconvolution
e.g. Richardson-Lucy
Raw Image
Estimate
Convolved
estimate
PSF
Image
Operation

## Slide 124
Convolve with PSF
Deconvolution – how?
Lucy (1974) The Astronomical Journal. Vol 79, No 6 p745
Richardson (1972) Journal of the Optical Society of America, Vol 62, No 1, p55
Constrained iterative deconvolution
e.g. Richardson-Lucy
Raw Image
Estimate
Compare with raw
Convolved
estimate
PSF
Raw Image
Image
Operation

## Slide 125
Convolve with PSF
Deconvolution – how?
Lucy (1974) The Astronomical Journal. Vol 79, No 6 p745
Richardson (1972) Journal of the Optical Society of America, Vol 62, No 1, p55
Constrained iterative deconvolution
e.g. Richardson-Lucy
Raw Image
Estimate
Compare with raw
Improve estimate
Convolved
estimate
PSF
Raw Image
Image
Operation

## Slide 126
Convolve with PSF
Deconvolution – how?
Lucy (1974) The Astronomical Journal. Vol 79, No 6 p745
Richardson (1972) Journal of the Optical Society of America, Vol 62, No 1, p55
Constrained iterative deconvolution
e.g. Richardson-Lucy
Raw Image
Deconvolved
Estimate
Compare with raw
Improve estimate
Convolved
estimate
PSF
Raw Image
Image
Operation

## Slide 127
Deconvolution – try it out
http://bigwww.epfl.ch/deconvolution/deconvolutionlab2/
DeconvolutionLab2
Sage et al. (2017) Methods. Vol 115, p28

## Slide 128
Deconvolution – BUT
Not installed with ImageJ/FIJI

## Slide 129
Installing plugins
Easy way:

## Slide 130
http://bigwww.epfl.ch/deconvolution/deconvolutionlab2/
Sage et al. (2017) Methods. Vol 115, p28
Download .jar file and copy into plugins folder
On OSX – right click > “Show package contents”
Installing plugins
Hard way:

## Slide 131
Deconvolution – try it out
http://bigwww.epfl.ch/deconvolution/deconvolutionlab2/
DeconvolutionLab2
Sage et al. (2017) Methods. Vol 115, p28

## Slide 132
Deconvolution – try it out
http://bigwww.epfl.ch/deconvolution/deconvolutionlab2/
DeconvolutionLab2
Drag and drop
CElegans-FITC.tif
PSF-CElegans-FITC.tif
C. Elegans embryo - microtubules
Sage et al. (2017) Methods. Vol 115, p28

## Slide 133
Deconvolution – try it out
http://bigwww.epfl.ch/deconvolution/deconvolutionlab2/
DeconvolutionLab2
Drag and drop
CElegans-FITC.tif
PSF-CElegans-FITC.tif
C. Elegans embryo - microtubules
Sage et al. (2017) Methods. Vol 115, p28

## Slide 134
Deconvolution – try it out (hopefully)
http://bigwww.epfl.ch/deconvolution/deconvolutionlab2/
Deconvolution is computationally intense – may be very slow on these machines

## Slide 135
Deconvolution – try it out (hopefully)
http://bigwww.epfl.ch/deconvolution/deconvolutionlab2/
Deconvolution is computationally intense – may be very slow on these machines
Try “Regularized Inverse Filter”

## Slide 136
Deconvolution – try it out (hopefully)
http://bigwww.epfl.ch/deconvolution/deconvolutionlab2/
Deconvolution is computationally intense – may be very slow on these machines
Try “Regularized Inverse Filter”

## Slide 137
Deconvolution – try it out (hopefully)
http://bigwww.epfl.ch/deconvolution/deconvolutionlab2/
Deconvolution is computationally intense – may be very slow on these machines
Try “Regularized Inverse Filter”
Richardson-Lucy – start with 10 iterations - compare

## Slide 138
Deconvolution – notes

## Slide 139
Deconvolution – notes
GIGA – Garbage In, Garbage Out

## Slide 140
Deconvolution – notes
Not always necessary
GIGA – Garbage In, Garbage Out

## Slide 141
Deconvolution – notes
Not always necessary
Only an estimate of fluorophore distribution
GIGA – Garbage In, Garbage Out

## Slide 142
Deconvolution – notes
Not always necessary
Only an estimate of fluorophore distribution
100’s of algorithms and options – try them out
GIGA – Garbage In, Garbage Out

## Slide 143
Deconvolution – notes
Not always necessary
Only an estimate of fluorophore distribution
100’s of algorithms and options – try them out
Can be very slow
GIGA – Garbage In, Garbage Out

## Slide 144
Deconvolution – notes
Not always necessary
Only an estimate of fluorophore distribution
100’s of algorithms and options – try them out
Can be very slow
Requires a good quality measured PSF (estimated PSF’s can work for standard microscopes)
  Routine to measure each day on light-sheet systems (e.g. lattice)
GIGA – Garbage In, Garbage Out

## Slide 145
Machine Learning
Often intensity alone can’t be used for segmentation
Need “context”
Train the computer to “recognize” structures

## Slide 146
Machine Learning
Often intensity alone can’t be used for segmentation
Need “context”
Train the computer to “recognize” structures
Open CHO.tif

## Slide 147
Machine Learning
Try to threshold!

## Slide 148
Machine Learning – Trainable Weka Segmentation

## Slide 149
Machine Learning – Trainable Weka Segmentation

## Slide 150
Machine Learning – Trainable Weka Segmentation

## Slide 151
Machine Learning – Trainable Weka Segmentation
Lots of training data

## Slide 152
Machine Learning – Trainable Weka Segmentation
Lots of training data
Choose features carefully

## Slide 153
Machine Learning – Trainable Weka Segmentation
Lots of training data
Choose features carefully
Will be slow!

## Slide 154
Machine Learning – Trainable Weka Segmentation
Lots of training data
Choose features carefully
iLastik
Will be slow!

## Slide 155
Analysis (rather than processing)
Measure segmented objects

## Slide 156
Analysis (rather than processing)
Measure segmented objects

## Slide 157
Analysis (rather than processing)
Measure segmented objects

## Slide 158
Analysis

## Slide 159
Analysis
Measure other objects
  Draw, then measure

## Slide 160
Analysis
Measure other objects
  Draw, then measure

## Slide 161
Analysis
Multiple objects – ROI manager

## Slide 162
Analysis
Multiple objects – ROI manager

## Slide 163
Analysis
Multiple objects – ROI manager

## Slide 164
Analysis – 3D

## Slide 165
Analysis – 3D

## Slide 166
Analysis – 3D

## Slide 167
Analysis – 3D

## Slide 168
Macros - record
Automated
Quicker
Reproducible (sharing)
Less chance for bias/mistakes
Works with most ImageJ plugins
No coding required (but possible)

## Slide 169
Macros - record
Automated
Quicker
Reproducible (sharing)
Less chance for bias/mistakes
Works with most ImageJ plugins
No coding required (but possible)

## Slide 170
Macros – edit & run
Use comments (lines starting with “//”) for notes/explanations

## Slide 171
Macros – edit & run

## Slide 172
How to make your analysis easier – plan!

## Slide 173
How to make your analysis easier – plan!
Use the correct method
  Widefield
  Confocal
  Multiphoton
  TIRF
  Super resolution (PALM/STORM/SRRF)
  Light sheet (iSPIM/diSPIM/Lattice)
  Something else – flow cytometry, biochemistry?

## Slide 174
How to make your analysis easier – plan!
Use the correct method
  Widefield
  Confocal
  Multiphoton
  TIRF
  Super resolution (PALM/STORM/SRRF)
  Light sheet (iSPIM/diSPIM/Lattice)
  Something else – flow cytometry, biochemistry?
Choose dyes carefully (SNR!)
  mNeonGreen vs EGFP
  Alexa 488 vs FITC

## Slide 175
Resolution

## Slide 176
Resolution
Resolution depends on:
  Wavelength of light
  Refractive index of media (n)
  NA of objective
  (Width of light sheet)

## Slide 177
Resolution
Resolution depends on:
  Wavelength of light
  Refractive index of media (n)
  NA of objective
  (Width of light sheet)

## Slide 178
Resolution
Resolution depends on:
  Wavelength of light
  Refractive index of media (n)
  NA of objective
  (Width of light sheet)
Nyquist theorem
  Sampling frequency (how many pixels) should be ≤ resolution
  Modern acquisition software will do this for you.

## Slide 179
Resolution – However!

## Slide 180
Resolution – However!
What do you want to image?

## Slide 181
Resolution – However!
What do you want to image?
0.916 pix μm-1
15.4 pix μm-1

## Slide 182
Resolution – However!
What do you want to image?
0.916 pix μm-1
15.4 pix μm-1
Same information – 300 x less data
  Also maybe quicker and more gentle

## Slide 183
Resolution – 3D
If you want to analyse in 3D:
  Isotropic resolution

## Slide 184
Resolution – 3D
If you want to analyse in 3D:
  Isotropic resolution
2D

## Slide 185
Resolution – 3D
If you want to analyse in 3D:
  Isotropic resolution
2D
3D

## Slide 186
Note – 3D analysis
Analysis almost always exactly the same as 2D:
  Takes longer
  Need to view in 3D to check
  3D not necessarily supported by software package

## Slide 187
Resolution – temporal

## Slide 188
Resolution – temporal

## Slide 189
Resolution – temporal

## Slide 190
Resolution – temporal

## Slide 191
Resolution – temporal

## Slide 192
Resolution – temporal

## Slide 193
Resolution – temporal

## Slide 194
Resolution – temporal

## Slide 195
Resolution – temporal

## Slide 196
Resolution – temporal
Accurate sampling vs photobleaching & data size

## Slide 197
Signal to noise ratio (SNR)
Resolution irrelevant if you can’t detect structures of interest

## Slide 198
Signal to noise ratio (SNR)
Resolution irrelevant if you can’t detect structures of interest
High resolution
Low resolution
High SNR
Low SNR

## Slide 199
Signal to noise ratio (SNR)
Resolution irrelevant if you can’t detect structures of interest
High resolution
Low resolution
High SNR
Low SNR
Contrast often the most important aspect of a good image

## Slide 200
Analysis as a method

## Slide 201
Analysis as a method
“True” image

## Slide 202
Analysis as a method
“True” image
Observed widefield image

## Slide 203
Analysis as a method
“True” image
Observed widefield image
STORM/PALMaquisition
STORM/PALM

## Slide 204
Analysis as a method
“True” image
Observed widefield image
STORM/PALMaquisition
STORM/PALM

## Slide 205
Analysis as a method
“True” image
Observed widefield image
STORM/PALMaquisition
STORM/PALM

## Slide 206
Analysis as a method
“True” image
Observed widefield image
STORM/PALMaquisition
STORM/PALM

## Slide 207
Analysis as a method
“True” image
Observed widefield image
STORM/PALMaquisition
STORM/PALM

## Slide 208
Analysis as a method
“True” image
Observed widefield image
STORM/PALMaquisition
STORM/PALM

## Slide 209
Analysis as a method
“True” image
Observed widefield image
STORM/PALMaquisition
Localised fluorophores
STORM/PALM

## Slide 210
Analysis as a method
“True” image
Observed widefield image
STORM/PALMaquisition
Localised fluorophores
Reconstructed image
STORM/PALM

## Slide 211
First (and most important lesson) – again!
Test your analysis before you acquire data!
Sample
preparation
Data
Analysis
Biological information

## Slide 212
Any other courses?

## Slide 213
Any other courses?
General – more advanced

## Slide 214
Any other courses?
General – more advanced
3D

## Slide 215
Any other courses?
General – more advanced
3D
Big datasets

## Slide 216
Any other courses?
General – more advanced
3D
Big datasets
Lightsheet processing

## Slide 217
Any other courses?
General – more advanced
3D
Big datasets
Lightsheet processing
Super resolution

## Slide 218
Any other courses?
General – more advanced
3D
Big datasets
Lightsheet processing
Super resolution

## Slide 219
Any other courses?
General – more advanced
3D
Big datasets
Lightsheet processing
Super resolution
Tracking

## Slide 220
Any other courses?
General – more advanced
3D
Big datasets
Lightsheet processing
Super resolution
Tracking
Writing custom scripts – MATLAB / Python etc

## Slide 221
Any other courses?
General – more advanced
3D
Big datasets
Lightsheet processing
Super resolution
Tracking
Writing custom scripts – MATLAB / Python etc
Anything else?