## Slide 1: Introduction to image analysis
April 2018
Adam Tyson

## Slide 2
Course website
bit.ly/ICR-analysis
Slides
Sample images
Software

## Slide 3
Aims
Introduction to fundamental image analysis principles
Using ImageJ/FIJI (but everything is general)
Convert biological question into computational problem

## Slide 4
Aims
Introduction to fundamental image analysis principles
Using ImageJ/FIJI (but everything is general)
Convert biological question into computational problem
Some parts will be very simple. Some parts won’t.
The aim is to help you understand image analysis for your PhD/postdoc/career, not to be able to use ImageJ by the end of the day.
Like anything, requires practice.
Disclaimer:

## Slide 5
Aims
Introduction to fundamental image analysis principles
Using ImageJ/FIJI (but everything is general)
Convert biological question into computational problem
Some parts will be very simple. Some parts won’t.
The aim is to help you understand image analysis for your PhD/postdoc/career, not to be able to use ImageJ by the end of the day.
Like anything, requires practice.
Disclaimer:
Email me whenever – adam.tyson@icr.ac.uk

## Slide 6
Questions

## Slide 7
Questions
Are you currently using microscopy or planning to?

## Slide 8
Questions
Are you currently using microscopy or planning to?
Which system(s)?
  Confocal/spinning disk
  Multiphoton
  High content (Celigo/Operetta/ImageXpress)
  TIRF
  Lightsheet
  Any others?

## Slide 9
Questions
Are you currently using microscopy or planning to?
Which system(s)?
  Confocal/spinning disk
  Multiphoton
  High content (Celigo/Operetta/ImageXpress)
  TIRF
  Lightsheet
  Any others?
Which analysis software?

## Slide 10
Questions
Are you currently using microscopy or planning to?
Which system(s)?
  Confocal/spinning disk
  Multiphoton
  High content (Celigo/Operetta/ImageXpress)
  TIRF
  Lightsheet
  Any others?
Which analysis software?
A bit / no / lots of experience?

## Slide 11
Questions
Are you currently using microscopy or planning to?
Which system(s)?
  Confocal/spinning disk
  Multiphoton
  High content (Celigo/Operetta/ImageXpress)
  TIRF
  Lightsheet
  Any others?
Which analysis software?
A bit / no / lots of experience?
Any specific aims?

## Slide 12
First (and most important lesson)
Test your analysis before you acquire data!
Sample
preparation
Data
Analysis
Biological information

## Slide 13
Software

## Slide 14
FIJI (FIJI is just ImageJ)
http://forum.imagej.net/
https://fiji.sc/

## Slide 15
FIJI (FIJI is just ImageJ)
Free
Open source
Cross platform
Flexible
Huge community
http://forum.imagej.net/
https://fiji.sc/

## Slide 16
Why computational image analysis?

## Slide 17
Why computational image analysis?
Quantity of data (TB’s per day)

## Slide 18
Why computational image analysis?
Quantity of data (TB’s per day)
Reproducibility, comparison

## Slide 19
Why computational image analysis?
Visual system relies heavily on context and relative changes.
Checker shadow illusion, Edward Adelson 1995.

## Slide 20
Why computational image analysis?
Visual system relies heavily on context and relative changes.
Checker shadow illusion, Edward Adelson 1995.

## Slide 21
Why computational image analysis?
Visual system relies heavily on context and relative changes.
Checker shadow illusion, Edward Adelson 1995.
Jastrow illusion, Joseph Jastrow (and others), 1892.

## Slide 22
Nearly all microscopy images aren’t colour

## Slide 23
Nearly all microscopy images aren’t colour

## Slide 24
Nearly all microscopy images aren’t colour

## Slide 25
Lookup tables (LUTs)

## Slide 26
Images are arrays of numbers
78 | 64 | 71 | 57 | 43 | 44
86 | 93 | 69 | 60 | 48 | 46
75 | 64 | 57 | 59 | 55 | 62
70 | 65 | 69 | 85 | 56 | 54
54 | 68 | 88 | 63 | 46 | 43
51 | 51 | 74 | 66 | 43 | 35

## Slide 27
More complicated images are still arrays of numbers
2D
78 | 64 | 71 | 57 | 43 | 44
86 | 93 | 69 | 60 | 48 | 46
75 | 64 | 57 | 59 | 55 | 62
70 | 65 | 69 | 85 | 56 | 54
54 | 68 | 88 | 63 | 46 | 43
51 | 51 | 74 | 66 | 43 | 35

## Slide 28
More complicated images are still arrays of numbers
2D

## Slide 29
More complicated images are still arrays of numbers
2D
RGB

## Slide 30
More complicated images are still arrays of numbers
2D
3D
RGB
Notes: .

## Slide 31
More complicated images are still arrays of numbers
2D
3D
RGB
Time-lapse

## Slide 32
More complicated images are still arrays of numbers
2D
3D
RGB
Time-lapse
3D RGB

## Slide 33
More complicated images are still arrays of numbers
2D
3D
RGB
Time-lapse
3D RGB
3D time-lapse

## Slide 34
More complicated images are still arrays of numbers
2D
Time-lapse
3D
3D time-lapse
RGB
3D RGB
3D RGB time-lapse

## Slide 35
Image processing vs analysis

## Slide 36
Image processing vs analysis
Volume
Shape
Texture

## Slide 37
Image processing vs analysis
Volume
Shape
Texture

## Slide 38
Histogram
Open any sample image

## Slide 39
Histogram
Open any sample image
Open histogram

## Slide 40
Thresholding
Threshold (κ)

## Slide 41
Thresholding

## Slide 42
Thresholding

## Slide 43
Thresholding

## Slide 44
Thresholding – try it out
Open DAPI.tif

## Slide 45
Thresholding – try it out
Open DAPI.tif
Threshold

## Slide 46
Manual threshold - problems
DAPI.tif

## Slide 47
Manual threshold - problems
DAPI.tif
DAPI_2.tif

## Slide 48
Automatic thresholding – Equal masses
Ideal case

## Slide 49
Automatic thresholding – Equal masses
Real case
Ideal case

## Slide 50
Automatic thresholding – Otsu’s method
Minimise within class variance (σW)
Maximise between class variance (σB)
Otsu (1979) IEEE Transactions on Systems, Man and Cybernetics. Vol SMC-9, No 1, p62

## Slide 51
Automatic thresholding – Otsu’s method
Minimise within class variance (σW)
Maximise between class variance (σB)
Otsu (1979) IEEE Transactions on Systems, Man and Cybernetics. Vol SMC-9, No 1, p62

## Slide 52
Automatic thresholding – Otsu’s method
Minimise within class variance (σW)
Maximise between class variance (σB)
Otsu (1979) IEEE Transactions on Systems, Man and Cybernetics. Vol SMC-9, No 1, p62

## Slide 53
Unimodal thresholding – Rosin’s method
Rosin (2001) Pattern Recognition. Vol 34, No 11, p2083
Use shape of distribution to find threshold

## Slide 54
Unimodal thresholding – Rosin’s method
Rosin (2001) Pattern Recognition. Vol 34, No 11, p2083
Use shape of distribution to find threshold

## Slide 55
Try it out – Otsu’s method
Otsu (1979) IEEE Transactions on Systems, Man and Cybernetics. Vol SMC-9, No 1, p62

## Slide 56
Many, many other methods
Kapur et al. (1985) Graphical Models and Image Processing Vol 29, No 3, p273

## Slide 57
Not always that simple …
Open DAPI_3.tif
Pick a threshold
vs

## Slide 58
Background subtraction – e.g. vignetting
Sample

## Slide 59
Background subtraction – e.g. vignetting
Sample
Microscope

## Slide 60
Background subtraction – e.g. vignetting
Sample
Microscope
Image

## Slide 61
Background subtraction – e.g. vignetting

## Slide 62
Background subtraction – e.g. vignetting

## Slide 63
Background subtraction – e.g. vignetting

## Slide 64
Background subtraction – e.g. vignetting
How to calculate??

## Slide 65
Estimate background – Gaussian smoothing
Seems arbitrary, but smoothing is often a key step in image processing

## Slide 66
Estimate background – Gaussian smoothing
Seems arbitrary, but smoothing is often a key step in image processing

## Slide 67
Estimate background – Gaussian smoothing
Seems arbitrary, but smoothing is often a key step in image processing
Try a value of 200 pixels

## Slide 68
Estimate background – Gaussian smoothing
May need to adjust brightness

## Slide 69
Estimate background – Gaussian smoothing
May need to adjust brightness

## Slide 70
Estimate background

## Slide 71
Estimate background

## Slide 72
Now try thresholding

## Slide 73
Now try thresholding
Better, but not great

## Slide 74
Morphological operations
Processing of (usually binary) images based on shape

## Slide 75
Morphological operations
Try on the previous example
Thresholded

## Slide 76
Morphological operations
Try on the previous example
Eroded
Thresholded

## Slide 77
Morphological operations
Try on the previous example
Eroded
Thresholded
Dilated and closed

## Slide 78
Watershed – separate objects
From the previous example
Notes: Basic implementation in ImageJ – but often requires a lot of tweaking if you don’t have two perfectly circular objects.

## Slide 79
Watershed – separate objects
From the previous example

## Slide 80
Watershed – separate objects
From the previous example

## Slide 81
Watershed

## Slide 82
Watershed

## Slide 83
Watershed

## Slide 84
Watershed
Distance transform
Negative intensity profile

## Slide 85
Watershed
Distance transform
Negative intensity profile

## Slide 86
Watershed
Distance transform
Negative intensity profile

## Slide 87
Watershed
Distance transform
Negative intensity profile

## Slide 88
Watershed
Distance transform
Negative intensity profile

## Slide 89
Watershed
Distance transform
Negative intensity profile
Watershed

## Slide 90
Filters - Gaussian
Large kernel (200 pix)
Correct inhomogeneous illumination

## Slide 91
Filters - Gaussian
Smooth intensity variations for thresholding
Small kernel (8 pix)

## Slide 92
Filters - Gaussian
Open foci.tif & try thresholding
Apply Gaussian smoothing (use preview) & try again

## Slide 93
Filters - Gaussian
Open foci.tif & try thresholding
Apply Gaussian smoothing (use preview) & try again
vs

## Slide 94
Filters - Gradient
Edge detection

## Slide 95
Filters - Gradient
Edge detection
Approximate derivative:
  The Sobel operator

## Slide 96
Filters - Gradient
Edge detection
Approximate derivative:
  The Sobel operator

## Slide 97
Filters - Gradient
Edge detection
Approximate derivative:
  The Sobel operator

## Slide 98
Filters - Gradient

## Slide 99
Filters - Gradient

## Slide 100
Filters - Gradient
Combine

## Slide 101
Filters - Gradient
Combine

## Slide 102
Boolean image mathematics

## Slide 103
Boolean image mathematics
AND

## Slide 104
Boolean image mathematics
AND
OR

## Slide 105
Boolean image mathematics
AND
OR
XOR

## Slide 106
Boolean image mathematics - masking

## Slide 107
Boolean image mathematics - masking
PV.tif
PV_DAPI.tif

## Slide 108
Boolean image mathematics - masking
PV.tif
PV_DAPI.tif
PV_seg.tif

## Slide 109
Boolean image mathematics - masking
PV.tif
PV_DAPI.tif
PV_seg.tif

## Slide 110
First (and most important lesson) – again!
Test your analysis before you acquire data!
Sample
preparation
Data
Analysis
Biological information

## Slide 111
Deconvolution
Sample

## Slide 112
Deconvolution
Sample
PSF

## Slide 113
Deconvolution
Sample
Blurred
PSF

## Slide 114
Deconvolution
Sample
Blurred
PSF
Noise

## Slide 115
Deconvolution
Sample
Blurred
Blurred & noisy
PSF
Noise

## Slide 116
Deconvolution
Sample
Blurred
Blurred & noisy
PSF
Noise
?

## Slide 117
Deconvolution – how?
Lucy (1974) The Astronomical Journal. Vol 79, No 6 p745
Richardson (1972) Journal of the Optical Society of America, Vol 62, No 1, p55
Constrained iterative deconvolution
e.g. Richardson-Lucy

## Slide 118
Deconvolution – how?
Lucy (1974) The Astronomical Journal. Vol 79, No 6 p745
Richardson (1972) Journal of the Optical Society of America, Vol 62, No 1, p55
Constrained iterative deconvolution
e.g. Richardson-Lucy
Raw Image
Image
Operation

## Slide 119
Deconvolution – how?
Lucy (1974) The Astronomical Journal. Vol 79, No 6 p745
Richardson (1972) Journal of the Optical Society of America, Vol 62, No 1, p55
Constrained iterative deconvolution
e.g. Richardson-Lucy
Raw Image
Estimate
Image
Operation

## Slide 120
Convolve with PSF
Deconvolution – how?
Lucy (1974) The Astronomical Journal. Vol 79, No 6 p745
Richardson (1972) Journal of the Optical Society of America, Vol 62, No 1, p55
Constrained iterative deconvolution
e.g. Richardson-Lucy
Raw Image
Estimate
PSF
Image
Operation

## Slide 121
Convolve with PSF
Deconvolution – how?
Lucy (1974) The Astronomical Journal. Vol 79, No 6 p745
Richardson (1972) Journal of the Optical Society of America, Vol 62, No 1, p55
Constrained iterative deconvolution
e.g. Richardson-Lucy
Raw Image
Estimate
Convolved
estimate
PSF
Image
Operation

## Slide 122
Convolve with PSF
Deconvolution – how?
Lucy (1974) The Astronomical Journal. Vol 79, No 6 p745
Richardson (1972) Journal of the Optical Society of America, Vol 62, No 1, p55
Constrained iterative deconvolution
e.g. Richardson-Lucy
Raw Image
Estimate
Compare with raw
Convolved
estimate
PSF
Raw Image
Image
Operation

## Slide 123
Convolve with PSF
Deconvolution – how?
Lucy (1974) The Astronomical Journal. Vol 79, No 6 p745
Richardson (1972) Journal of the Optical Society of America, Vol 62, No 1, p55
Constrained iterative deconvolution
e.g. Richardson-Lucy
Raw Image
Estimate
Compare with raw
Improve estimate
Convolved
estimate
PSF
Raw Image
Image
Operation

## Slide 124
Convolve with PSF
Deconvolution – how?
Lucy (1974) The Astronomical Journal. Vol 79, No 6 p745
Richardson (1972) Journal of the Optical Society of America, Vol 62, No 1, p55
Constrained iterative deconvolution
e.g. Richardson-Lucy
Raw Image
Deconvolved
Estimate
Compare with raw
Improve estimate
Convolved
estimate
PSF
Raw Image
Image
Operation

## Slide 125
Deconvolution – try it out
http://bigwww.epfl.ch/deconvolution/deconvolutionlab2/
DeconvolutionLab2
Sage et al. (2017) Methods. Vol 115, p28

## Slide 126
Deconvolution – BUT
http://bigwww.epfl.ch/deconvolution/deconvolutionlab2/
DeconvolutionLab2
Sage et al. (2017) Methods. Vol 115, p28

## Slide 127
Deconvolution – BUT
http://bigwww.epfl.ch/deconvolution/deconvolutionlab2/
DeconvolutionLab2
Sage et al. (2017) Methods. Vol 115, p28
Plugin is free, but must be manually installed
Download .jar file and copy into plugins folder

## Slide 128
Deconvolution – try it out
http://bigwww.epfl.ch/deconvolution/deconvolutionlab2/
DeconvolutionLab2
Sage et al. (2017) Methods. Vol 115, p28

## Slide 129
Deconvolution – try it out
http://bigwww.epfl.ch/deconvolution/deconvolutionlab2/
DeconvolutionLab2
Drag and drop
CElegans-FITC.tif
PSF-CElegans-FITC.tif
C. Elegans embryo - microtubules
Sage et al. (2017) Methods. Vol 115, p28

## Slide 130
Deconvolution – try it out
http://bigwww.epfl.ch/deconvolution/deconvolutionlab2/
DeconvolutionLab2
Drag and drop
CElegans-FITC.tif
PSF-CElegans-FITC.tif
C. Elegans embryo - microtubules
Sage et al. (2017) Methods. Vol 115, p28

## Slide 131
Deconvolution – try it out (hopefully)
http://bigwww.epfl.ch/deconvolution/deconvolutionlab2/
Deconvolution is computationally intense – may be very slow on these machines

## Slide 132
Deconvolution – try it out (hopefully)
http://bigwww.epfl.ch/deconvolution/deconvolutionlab2/
Deconvolution is computationally intense – may be very slow on these machines
Try “Regularized Inverse Filter”

## Slide 133
Deconvolution – try it out (hopefully)
http://bigwww.epfl.ch/deconvolution/deconvolutionlab2/
Deconvolution is computationally intense – may be very slow on these machines
Try “Regularized Inverse Filter”

## Slide 134
Deconvolution – try it out (hopefully)
http://bigwww.epfl.ch/deconvolution/deconvolutionlab2/
Deconvolution is computationally intense – may be very slow on these machines
Try “Regularized Inverse Filter”
Richardson-Lucy – start with 10 iterations - compare

## Slide 135
Deconvolution – notes

## Slide 136
Deconvolution – notes
GIGA – Garbage In, Garbage Out

## Slide 137
Deconvolution – notes
Not always necessary
GIGA – Garbage In, Garbage Out

## Slide 138
Deconvolution – notes
Not always necessary
Only an estimate of fluorophore distribution
GIGA – Garbage In, Garbage Out

## Slide 139
Deconvolution – notes
Not always necessary
Only an estimate of fluorophore distribution
100’s of algorithms and options – try them out
GIGA – Garbage In, Garbage Out

## Slide 140
Deconvolution – notes
Not always necessary
Only an estimate of fluorophore distribution
100’s of algorithms and options – try them out
Can be very slow
GIGA – Garbage In, Garbage Out

## Slide 141
Deconvolution – notes
Not always necessary
Only an estimate of fluorophore distribution
100’s of algorithms and options – try them out
Can be very slow
Requires a good quality measured PSF (estimated PSF’s can work for standard microscopes)
  Routine to measure each day on light-sheet systems (e.g. lattice)
GIGA – Garbage In, Garbage Out

## Slide 142
Machine Learning
Often intensity alone can’t be used for segmentation
Need “context”
Train the computer to “recognize” structures

## Slide 143
Machine Learning
Often intensity alone can’t be used for segmentation
Need “context”
Train the computer to “recognize” structures
Open CHO.tif

## Slide 144
Machine Learning
Try to threshold!

## Slide 145
Machine Learning – Trainable Weka Segmentation

## Slide 146
Machine Learning – Trainable Weka Segmentation

## Slide 147
Machine Learning – Trainable Weka Segmentation

## Slide 148
Machine Learning – Trainable Weka Segmentation
Lots of training data

## Slide 149
Machine Learning – Trainable Weka Segmentation
Lots of training data
Choose features carefully

## Slide 150
Machine Learning – Trainable Weka Segmentation
Lots of training data
Choose features carefully
Will be slow!

## Slide 151
Machine Learning – Trainable Weka Segmentation
Lots of training data
Choose features carefully
iLastik
Will be slow!

## Slide 152
Analysis (rather than processing)
Measure segmented objects

## Slide 153
Analysis (rather than processing)
Measure segmented objects

## Slide 154
Analysis (rather than processing)
Measure segmented objects

## Slide 155
Analysis

## Slide 156
Analysis
Measure other objects
  Draw, then measure

## Slide 157
Analysis
Measure other objects
  Draw, then measure

## Slide 158
Analysis
Multiple objects – ROI manager

## Slide 159
Analysis
Multiple objects – ROI manager

## Slide 160
Analysis
Multiple objects – ROI manager

## Slide 161
Analysis – 3D

## Slide 162
Analysis – 3D

## Slide 163
Analysis – 3D

## Slide 164
Analysis – 3D

## Slide 165
Macros - record
Automated
Quicker
Reproducible (sharing)
Less chance for bias/mistakes
Works with most ImageJ plugins
No coding required (but possible)

## Slide 166
Macros - record
Automated
Quicker
Reproducible (sharing)
Less chance for bias/mistakes
Works with most ImageJ plugins
No coding required (but possible)

## Slide 167
Macros – edit & run
Use comments (lines starting with “//”) for notes/explanations

## Slide 168
Macros – edit & run
Use comments (lines starting with “//”) for notes/explanations

## Slide 169
How to make your analysis easier – plan!

## Slide 170
How to make your analysis easier – plan!
Use the correct method
  Widefield
  Confocal
  Multiphoton
  TIRF
  Super resolution (PALM/STORM/SRRF)
  Light sheet (iSPIM/diSPIM/Lattice)
  Something else – flow cytometry, biochemistry?

## Slide 171
How to make your analysis easier – plan!
Use the correct method
  Widefield
  Confocal
  Multiphoton
  TIRF
  Super resolution (PALM/STORM/SRRF)
  Light sheet (iSPIM/diSPIM/Lattice)
  Something else – flow cytometry, biochemistry?
Choose dyes carefully (SNR!)
  mNeonGreen vs EGFP
  Alexa 488 vs FITC

## Slide 172
Resolution

## Slide 173
Resolution
Resolution depends on:
  Wavelength of light
  Refractive index of media (n)
  NA of objective
  (Width of light sheet)

## Slide 174
Resolution
Resolution depends on:
  Wavelength of light
  Refractive index of media (n)
  NA of objective
  (Width of light sheet)

## Slide 175
Resolution
Resolution depends on:
  Wavelength of light
  Refractive index of media (n)
  NA of objective
  (Width of light sheet)
Nyquist theorem
  Sampling frequency (how many pixels) should be ≤ resolution
  Modern acquisition software will do this for you.

## Slide 176
Resolution – However!

## Slide 177
Resolution – However!
What do you want to image?

## Slide 178
Resolution – However!
What do you want to image?
0.916 pix μm-1
15.4 pix μm-1

## Slide 179
Resolution – However!
What do you want to image?
0.916 pix μm-1
15.4 pix μm-1
Same information – 300 x less data
  Also maybe quicker and more gentle

## Slide 180
Resolution – 3D
If you want to analyse in 3D:
  Isotropic resolution

## Slide 181
Resolution – 3D
If you want to analyse in 3D:
  Isotropic resolution
2D

## Slide 182
Resolution – 3D
If you want to analyse in 3D:
  Isotropic resolution
2D
3D

## Slide 183
Note – 3D analysis
Analysis almost always exactly the same as 2D:
  Takes longer
  Need to view in 3D to check
  3D not necessarily supported by software package

## Slide 184
Resolution – temporal

## Slide 185
Resolution – temporal

## Slide 186
Resolution – temporal

## Slide 187
Resolution – temporal

## Slide 188
Resolution – temporal

## Slide 189
Resolution – temporal

## Slide 190
Resolution – temporal

## Slide 191
Resolution – temporal

## Slide 192
Resolution – temporal

## Slide 193
Resolution – temporal
Accurate sampling vs photobleaching & data size

## Slide 194
Signal to noise ratio (SNR)
Resolution irrelevant if you can’t detect structures of interest

## Slide 195
Signal to noise ratio (SNR)
Resolution irrelevant if you can’t detect structures of interest
High resolution
Low resolution
High SNR
Low SNR

## Slide 196
Signal to noise ratio (SNR)
Resolution irrelevant if you can’t detect structures of interest
High resolution
Low resolution
High SNR
Low SNR
Contrast often the most important aspect of a good image

## Slide 197
Analysis as a method

## Slide 198
Analysis as a method
“True” image

## Slide 199
Analysis as a method
“True” image
Observed widefield image

## Slide 200
Analysis as a method
“True” image
Observed widefield image
STORM/PALMaquisition
STORM/PALM

## Slide 201
Analysis as a method
“True” image
Observed widefield image
STORM/PALMaquisition
STORM/PALM

## Slide 202
Analysis as a method
“True” image
Observed widefield image
STORM/PALMaquisition
STORM/PALM

## Slide 203
Analysis as a method
“True” image
Observed widefield image
STORM/PALMaquisition
STORM/PALM

## Slide 204
Analysis as a method
“True” image
Observed widefield image
STORM/PALMaquisition
STORM/PALM

## Slide 205
Analysis as a method
“True” image
Observed widefield image
STORM/PALMaquisition
STORM/PALM

## Slide 206
Analysis as a method
“True” image
Observed widefield image
STORM/PALMaquisition
Localised fluorophores
STORM/PALM

## Slide 207
Analysis as a method
“True” image
Observed widefield image
STORM/PALMaquisition
Localised fluorophores
Reconstructed image
STORM/PALM

## Slide 208
First (and most important lesson) – again!
Test your analysis before you acquire data!
Sample
preparation
Data
Analysis
Biological information

## Slide 209
Any other courses?

## Slide 210
Any other courses?
General – more advanced

## Slide 211
Any other courses?
General – more advanced
3D

## Slide 212
Any other courses?
General – more advanced
3D
Big datasets

## Slide 213
Any other courses?
General – more advanced
3D
Big datasets
Lightsheet processing

## Slide 214
Any other courses?
General – more advanced
3D
Big datasets
Lightsheet processing
Super resolution

## Slide 215
Any other courses?
General – more advanced
3D
Big datasets
Lightsheet processing
Super resolution

## Slide 216
Any other courses?
General – more advanced
3D
Big datasets
Lightsheet processing
Super resolution
Tracking

## Slide 217
Any other courses?
General – more advanced
3D
Big datasets
Lightsheet processing
Super resolution
Tracking
Writing custom scripts – MATLAB / Python etc

## Slide 218
Any other courses?
General – more advanced
3D
Big datasets
Lightsheet processing
Super resolution
Tracking
Writing custom scripts – MATLAB / Python etc
Anything else?